## Water
Specific Site | Population size | Total volume of water provided litres | Ratio Per user |  | Total Volume of | Number of distribution points | Coverage in terms of water points | Number of taps |  | Additional Taps required | Additional water points (6 taps)
|  |  | Standard (l/p/d) | Actual (l/p/d) | water needed to meet std |  |  | Req’d | Actual number
Reception | 200 | 3 | 15 | 15 | 0 | 1 | 750% | 2 | 6 | 0 | 0
Transit | 1453 | 33 | 15 | 22.7116 | 0 | 5 | 516.2% | 5.812 | 30 | 0 | 0
Kobe Camp | 25611 | 381 | 15 | 14.8764 | 0 | 25 | 146.4% | 102.444 | 150 | 0 | 0
Melkadida | 39834 | 410 | 15 | 10.2927 | 187.51 | 29 | 109.2% | 159.336 | 174 | 0 | 0
Bokolmayo | 37559 | 364 | 15 | 9.6914 | 199.385 | 20 | 79.87% | 150.236 | 120 | 30.236 | 4
Hallawen | 17804 | 280 | 15 | 15.7268 | 0 | 9 | 75.83% | 71.216 | 54 | 17.216 | 4
Total | 104657 | 1471 |  | 14.0554 | 386.895 | 89 | 127.6% | 491.044 | 534 | 47.452 | 8

## Sanitation
Site | Population size | Type of latrine available | Total number of blocs | Total number of holes |  | Number of functional holes | Under construction | Ratio Per user |  | STANDARD I (50P/HOLE) |  |  |  | STANDARD II (20p/HOLE) |  |  |  | Hygiene promoters
[5 empty] | Remarks |  |  |  |  | Additional required NOW to meet standard | Additional required (excluding those under construction) to meet standard | Coverage in % currently | Coverage in % after completion | Additional required NOW to meet standard II | Additional required (excluding those under construction) to meet standard II | Coverage in % currently | Coverage in % after completion | Needed | Actual | To be added
[8 empty] | Emergency Standard (p/hole) | Actual (p/hole)
Reception | 200 | Communal | 3 | 30 |  |  | 0 | 50 | 6.6667 | 0 | 0 | 750% | 750% | 0 | 0 | 300% | 300% | 0.4
Transit | 1453 | Communal | 10 | 80 |  |  | 0 | 50 | 18.1625 | -50.94 | 0 | 275.3% | 275.3% | 0 | 0 | 110.1% | 110.1% | 2.906 | 10 | -7.094
Kobe | 25611 | Communal Familial | 315 | 524 |  | 155 | 37 | 50 | 48.876 | -11.78 | -48.78 | 102.3% | 109.5% | 756.55 | 719.55 | 40.92% | 43.81% | 51.222 | 28 | 23.222
Melkadida | 39834 | Communal Familial | 71 | 71 |  |  | 1005 | 50 | 561.0423 | 725.68 | 0 | 8.912% | 135.1% | 1920.7 | 915.7 | 3.565% | 54.02% | 79.668 | 62 | 17.668
Bokolmayo | 37559 | Communal Familial | 310 | 454 | 147 family latrines (2 holes, 1 shower, 1 latrine) 162 Communal latrines (80_1 hole, 1 shower, 1 latrine, 82, 3 holes, 2 latrines, 1 shower) |  | 1072 | 50 | 82.7291 | 297.18 | 0 | 60.44% | 203.1% | 1423.95 | 351.95 | 24.18% | 81.26% | 75.118 | 62 | 13.118
Helowin | 17804 | Trench latrines | 20 | 140 |  |  | 60 | 50 | 127.1714 | 216.08 | 156.08 | 39.32% | 56.17% | 750.2 | 690.2 | 15.73% | 22.47% | 35.608 | 14 | 21.608
|  | Blocs | 30 |  |  |  | 36
Total | 104657 |  |  | 1159 |  |  | 2210 | 50 | 717.4764 | 960.14 | -48.78 | 55.37% | 161% | 4101.2 | 1987.2 | 17.98% | 64.38% |  | 176 | 68.522