## water
Refugee Camp | Population size | Total volume of water provided (liters/d) | Number of distribution hours per day | Water coverage |  | Water needed to meet std (GAP) (liters/day) | Number of water collection points (locations) | Coverage in terms of water points | Ratio Refugee:Taps | Number of taps |  | Additional taps required | Additional water collection points (6 taps) required
|  |  |  | Standard (l/p/d) | Actual (l/p/d) |  |  |  |  | Req’d (1:80) | Actual number
Sheder | 11569 | 80000 | 10 | 20 | 6.915 | 0 | 18 | 99.58% | 80.3403 | 144.6125 | 144 | 0.6125 | 0.10208
Awbarre | 13374 | 260000 | 8 | 20 | 19.4407 | 7480 | 23 | 82.55% | 96.913 | 167.175 | 138 | 29.175 | 4.8625
Kebribeyah | 16569 | 350000 | 8 | 20 | 21.1238 | -18620 | 42 | 121.7% | 65.75 | 207.1125 | 252 | 0 | 0
Total | 41512 | 340000 |  |  | 8.1904 | 7480 | 41 | 54.35% |  | 311.7875 | 282 | 29.7875 | 4.9646
WASH Engineer: Simeneh Gebeyehu

## sanitation
| Population size | Number of HHs | Type of facilities | Existing number of blocks | Existing number of stances (holes) | Ratio per user |  |  | GAP (number of facilities needed to meet standard) | Comment
[6 empty] | Standard | Actual coverage (persons) | Coverage (%)
SHEDER Refugee Camp | 11569 | 2995 | Communal Toilets | 32 | 192 | 1:20 | 3840 | 33.19% | 111.65 | Replacement on demolishing the old latrines constructed by IRC,i.e. the figures are same weekly
|  | 578.45 | HHs Toilets | 1374 | 1374 | 100% | 5496 | 45.88%
|  |  | Showers | 150 | 150 | 1<50 | 7500 | 64.83% | 81.38
|  |  | Washing basins | 170 | 170 | 1<100 | 17000 | 146.9% | -54.31
|  |  | Solid waste pits (7pcs-62m3,10pcs-42m3) | 18 | 18 | 1<500 | 9000 | 77.79% | 5.138
KEBRIBEYAH Refugee camp | 16750 | 4187.5 | Communal Toilets |  | 0 | 1:20 | 0 |  | 619.5 | No communal toilets in Kebribeyah
|  | 1270 | HHs Toilets | 1090 | 1090 | 100% | 4360 | 26.03%
|  |  | Showers | 150 | 150 | 1<50 | 7500 | 44.78% | 185
|  |  | Washing basins | 124 | 0 | 1<100 | 0 | 0% | 167.5
|  |  | Solid waste pits (7-62m3,10-42m3) | 31 | 31 | 1<500 | 15500 | 92.54% | 2.5
AWBARRE Refugee Camp | 13374 | 3343.5 | Communal Toilets | 10 | 31 | 1:20 | 620 |  | 430.3 | WASH training being provided for community workers in the camp with four groups organized by ARRA at Awbare camp,health center
|  |  | HHs Toilets | 1037 | 1037 | 100% | 4148 | 31.02%
|  |  | Showers | 710 | 710 | 1<50 | 35500 | 265.4% | -442.52
|  |  | Washing basins | 705 | 705 | 1<100 | 70500 | 527.1% | -571.26
|  |  | Solid waste pits | 51 | 51 | 1<500 | 25500 | 190.7% | -24.252
WASH Engineer: Simeneh Gebeyehu